## Slide 1: PCIM Update
IHE F2F - October 2022
Eldon Metz

## Slide 2: PCIM - Purpose
Accurate patient and location information stamped on device data increases safety, efficacy and efficiency
Clinicians don’t want or have time to search, select patients on all device displays!
Many device vendors don’t provide UI implementations for selecting patients
Interoperable interfaces facilitate plug and play system participation

## Slide 3: PCIM Profile Status – Taking off!
2021
2022
First Connectathon
Showcase Planning
Vendor testing
NIST HL7v2 test tool updates
Multiple change proposals
2023
Additional CPs
Trial -> Final text momentum
Validation of profile
HIMSS Showcase
Increased Vendor Participation

## Slide 4: PCIM Profile Status – Marketing
Closing the gaps HIMSS Showcase Demonstration in March 2022
  5 vendors (EMR, Infusion Pump, Clinical Communications, RTLS and MDI)
  Highlighted value of accurate patient and location information on multiple types of data reported by devices
  Demonstrated value of interoperable interfaces by showcasing RTLS scanner and integrated EMR Barcode reporters as well as multiple consumers and managers
  Demonstrated value of alarm reports with accurate patient and location information
  Demonstrated value of ventilator data with accurate patient and location information

## Slide 5: PCIM Profile Status – Technical
Multiple CPs authored in April 2022 and 5 currently under review
CPs authored by 3 different vendor representatives
  Additional CP possibilities actively being identified
Initial Connectathon tests defined and added to Gazelle
5 vendors, 8 systems tested at IHE Global Connectathon in Sept 2022