## Slide 1: PCIM Overview

## Slide 2: Actors
PCIM Consumer
  Interested in knowing device – patient – location – (order ?) associations
PCIM Manager
  Maintains master list (database) of associations
PCIM Reporter
  Reports an association event to the manager
  Reports a disassociation event to the manager

## Slide 3: Examples of Actors
PCIM Consumer
  Medical device (Ventilator, Infusion Pump, Patient Monitor, Dialysis Machine, …)
  Clinical applications that needs this information
PCIM Reporter
  EMR
  Custom software application (desktop, tablet, phone)
  Dedicated hardware device in the room
  RTLS system with no user interface
PCIM Manager
  EMR
  Cloud-based
  Dedicated third-party product

## Slide 4: Notes
No one vendor will typically implement all three roles in reality
We currently implement all three roles
  C++ Library / Gateway is a consumer
  Java Platform/Dashboard is a Manager and Reporter
Interoperable, hospital system chooses manager and reporters of their choice based on features, IT capabilities and budget

## Slide 5: EMR scanner
Monitor
Vent
Pump
Bed
EMR with Scanner
PCIM Manager / Reporter
PCIM Consumers (IML)

## Slide 6: EMR scanner with RTLS
Monitor
Vent
Pump
Bed
EMR with Scanner
PCIM Manager / Reporter / Consumer
PCIM Consumers (IML)
RTLS system
PCIM Reporter

## Slide 7: Cloud-based, scanner with RTLS
Monitor
Vent
Pump
Bed
App with Scanner
PCIM Manager / Reporter
PCIM Consumers (IML)
RTLS system
PCIM Reporter